## Slide 1: Receiver Calibration Overview
Daniel Molnar
18/01/2024, Receiver Calibration meeting

## Slide 2: Overview
Calibration meeting
  Intro and welcome
Receiver noise
  Calibration of a generic LNA
  Switching
Noise descriptions
REACH receiver
Discussion and Outlook

## Slide 3: Agenda for today’s meeting
Notations and overview
-Daniel and Harry
Forward modelling
- S-parameter based model of FE: Dirk and Saurabh
-Noisy Cable modelling: Martin and Daniel
-Mock data generation:
-Kaan
-Jiacong
Calibration Strategies
-Least Squares , Kaan, Jiacong
-Machine Learning :Sam
-Gaussian Processes: Christian
-Conjugate priors :Christian
AOB receiver calibration
Discussion and future

## Slide 4: Receiver noise
Ideal Receiver
Antenna
Detected Signal

## Slide 5: Receiver Calibration cont.
Schematic representation of a global 21cm receiver (from REACH radiometer paper)
This basic setup is also important for mock data and ML (see Kaan’s and Sam’s talks)

## Slide 6: Calibration of a generic LNA
The issue: any microwave amplifier (device) will have different noise characteristics based on the source and load devices’ reflection coefficients
In general characterizing it to a given reflection coefficient has to be done each time when G(S11 or input impedance Z ) changes
Noise characterization can be done in various ways, 4 parameters, Meys noise wave or REACH noise wave
Design considerations for REACH: reduce S11 of LNA to 30dB or below and try to minimize temperature variation too

## Slide 7: Uncalibrated T from switching
For the uncalibrated T* we can obtain the following:
T*sig
TND
LNA
S(n)
TL
T0,G*
Power at LNA output:

## Slide 8: Noisy devices general description
The basis: given a noisy two port represented by its Impedance matrix (or equivalently by S, Y or T)
Transform it into an equivalent noiseless two-port with noise generators (voltage and current) at the input of the device
Input and output can be transformed by appropriate matrix inversion
From Atkinson et al

## Slide 9: Noise parameters of a device
In general, 4 real parameters are needed to characterize a noisy two port (see eg: Martin’s Malta talk, Atkinson et al or Rothe et al for derivation)
This could be extended to noisy NPorts (Bucher and Molnar in prep)
Using the derivation and notation in Atkinson et al and expressing the noise T:
Or equivalently :
NB: this is what Price et al use too

## Slide 10: REACH LNA-4 noise parameters
REACH LNA measured 4 noise parameters
Currently used data for mock data (cf Kaan and Jiacong)
Currently researching to get a better measurement: in-house maybe our best option!

## Slide 11: Noise waves of Meys
From Meys’ paper
This is shown to be equivalent to 4 param

## Slide 12: Meys definitions

## Slide 13: Meys noise waves and 4 parameters
In Meys’ paper the conversion between the 4 np and NW is also given
REACH LNA Meys noise waves

## Slide 14: Noise Waves of REACH
The received power is a relatively complicated function of the antenna power due to reflections
The relation of antenna power to sky temperature is another story
The schematic is representing how to get the formulae that Roque et al are using in the conjugate priors and REACH Rx papers
F
GA
GREC
ANT
REC
A
B
C
D
E
G
H
Receiver intrinsic
Each latin letter represents a microwave

## Slide 15: Noise waves
The received power at the output of the LNA from PF*G
If LNA noise is an extra T at the input of LNA
If the REC(LNA) emits towards the antenna noise wave (i.e. noise) the extra terms can be added and calculated
F
GA
GREC
ANT
REC
A
B
C
D
E
G
H
Receiver intrinsic
Pout=G(PF+PG+PH)
Nb in our notations: PF=PA/M but PG is missing somehow or is subsumed into Prec, in EDGES PG+H is dealt with to get to their equations and also Ian’s PH is just T0 in both

## Slide 16: Waves continued
From definitions of reflection coeff. and power and after some (a lot) of algebra
The factor M from earlier
Total power:
The power from the antenna at the LNA

## Slide 17: Mismatched amplifier-Pozar notation
In Pozar it’s described in page 510
The formulae are simpler because G,F are for matched impedance (Z0 , or 50W)
Working through the equations the noise factor or equivalently noise Temperature

## Slide 18: REACH calibration
From the radiometer paper
The REACH approach : Since the S11 of the antenna can be simulated (measured) the input impedance to the LNA is known cover the Smith chart

## Slide 19: Antenna S11
Smith chart of the antenna S11 from simulation

## Slide 20: The REACH Receiver chain
The schematic of the Front end of the REACH receiver

## Slide 21: The sensitivity of the calibration
The intrinsic errors in the measurement will affect (absolute) sensitivity eg. Temp
As long as uncertainties are smooth functions of frequency it should be fine
The reflection coefficients are also measured with a given tolerance

## Slide 22: VNA specifications

## Slide 23: Temperature measurements

## Slide 24: Error propagation
Strategy: we are looking at measurement errors and assume that the input variables have Gaussian pdfs
Propagation of error formula applied to the calibration equations
The resulting temperature is fed into the pipeline, two profile: flat and power law with Gaussian signal

## Slide 25: Discussion
What absolute sensitivity do we need? ->motivated by data analysis pipeline, also see forward modelling session, eg.: Dirk, Kaan
What integration time should we settle on? ->
What are the first order and second order effects(i.e. to get a calibration and to get a given sensitivity calibration)? –e.g. Cable correction, see Martin
What calibration strategy should we use? ->Calibration strategies session
Are the noise wave / noise parameter formalisms equivalent? ->Meys &4 param yes, cf later Jiacong
What are limitations on our current analytical approaches – i.e. are there effects that these methods ignore that could be problematic at our scales?

## Slide 26: Solutions being implemented
We need further temperature measurements of sources and cables: another TC08 is the most straightforward
Temperature stability: even without issues the current design is being evaluated : tec improvements including thermal link are being designed/implemented
Insulation of the box being looked at, what material we could use and thickness
Current system is hardware based, software implementation is being looked at for parts of temperature control (eg:fan)
Go pro to monitor the state of FE (Harry’s suggestion) 

## Slide 27: Bibliography
[1]: David M.Pozar: Microwave Engineering
[2]: Atkinson et al: Representation of Noise in Linear Two Ports Representation of Noise in Linear Twoports | IEEE Journals & Magazine | IEEE Xplore
[3]: REACH AGM, Malta 2023:REACH annual meeting 2023 - Google Drive
[4]: REACH radiometer design paper:[2307.00099] Receiver design for the REACH global 21-cm signal experiment (arxiv.org)
[5]: Meys: A wave approach to the noise properties of linear microwave devices

## Slide 28
Thanks

## Slide 29: Power gains
From Pozar ch. 12.1
Power gain:
Available power gain:
Transducer power gain:

## Slide 30: Definitions

## Slide 31: Power gains

## Slide 33: TC08 stability

## Slide 34: VNA operating conditions

## Slide 35
Are the noise wave / noise parameter formalism's equivalent? This came up in a group meeting recently and we didn't reach a conclusion.
What are limitations on our current analytical approaches - ie are there effects that these methods ignore that could be problematic at our scales?
If there is time I would also personally like to understand if we can put any physical constraints on the LNA gain and what is it dependent on?

## Slide 36: Paul Scott’s idea
Still need to look into it

## Slide 37: Discussion
What